Project 1: How to measure telomere size in 3D?- Does KD of shelterins affect telomere size/compaction?

1. What we have done so far (status: December 2014):

Setup of the method:
Comparison and compaction of telomere sizes with STORM of Hela S and L (not transfected):
3 slides à 15 pictures each; will be compared to the Hela S and Hela L transfected with pSuper (10 different experiments à 15 pics each)
 telomere size determination with this method is reliable (giving always the same results)
Telomere length determination of Hela S and L using Southern Blot:
Comparison of sizes, distribution and ratio (S/L) we got by STORM with the ones on Southern Blot
Tested usage of activation laser 405nm to increase blinking efficiency:
Using activation laser did not change the results, i.e. telomere size are the same
Tested taking 30000 frames instead of 10000 frames in order to get max. of blinks:
did not change the result, i.e. telomere sizes are the same
Comparison of determination of telomere size when doing FISH and TRF1 IF in STORM in Hela L:
TRF1 IF telomere sizes are much smaller than FISH-stained telomeres
staining problem?

Does KD of shelterins affect telomere size/compaction by STORM?
Telomere size determination by STORM analysis of KD of TRF1, TRF2, TRF1/2 in Hela S and L (5 days selection):
in Hela S: TRF2 KD: smaller telomeres; TRF1 KD: bigger telomeres; TRF1/2 KD: as control
in Hela L: TRF2 KD: tiny bit smaller; TRF1 KD: bigger telomeres; TRF1/2 KD: tiny bit smaller
 Hela S and L behave differently as seen for SmchD1 presence in TRF2 KD
Telomere size analysis by Southern Blot of KD of TRF1, TRF2, TRF1/2 in Hela S and L (5 days selection):
compare what results from Southern with the STORM results

2. What we need to do:

Kyle:
1. compare telomere size, distribution and ratio of Southern blot data with STORM data of Hela S and L
2. determine and compare chromatin compaction (persistence length and packing ratio) for Hela S and L
does telomere compaction change with size?
Compare the compaction/bending of telomeres with other chromatin compaction models
on a scale from 0 (not compacted) to 1 (full compacted) where do the telomeres belong?
how much compacted telomere stretch before it could bend?
Analyse data of TRF1, TRF2, TRF1/2 KD in Hela S and L (all 5 experiments)
Does KD of shelterin components affect telomere size?
Does KD of shelterin components affect telomere compaction/bending?
Compare telomere length and distribution by Southern Blot and STORM in TRF1, TRF2, TRF1/2 KD in Hela S and L
we need to discuss if we only look at the shelterin KD in Hela S (for STORM, Southern and ChIP!)

6. Understand why volume and Rg sometimes behave in the opposite sense. See for example the pooled double knockdown TRF1/TRF2 data and the 21-10-2014 pSuper. - kmd

Us:
Do heterochromatin ChIP (H3, H3K9me, me2, me3, IgG) in TRF1, TRF2, TRF1/2 KD in Hela S:
TRF2 KD increases H3K9me3 in Hela S (not in Hela L) and shows smaller telomeres
does TRF1 KD show less heterochromatin marks = bigger telomere size?
= is there a correlation between histone marks and physical size of the telomere?
Do heterochromatin ChIP (H3K9me3, H4Ac, HP1, gH2AX, IgG) in Hela S and L:
Are Hela S less compact because they have less H3K9me3 than Hela L?

All STORM data given to Kyle:

18_06_2014_HelaS_L_KD_SmchD1 (External hard drive B)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1) in Hela S (short) and Hela L (long)
This is the same transfection and staining experiment as 19_06_2014,

19_06_2014_HelaS_L_KD_SmchD1 (External hard drive B)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1) in Hela S (short) and Hela L (long)

30_06_2014_HeLaS and L_SMCHD1_KD (External hard drive B)
2 slide/condition (same transfection), for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1) in Hela S (short) and Hela L (long)
I separated this data into 30-06-2014 (slide1) and 02-07-2014 (slide 2) in the folder containing all the data. Note that I'm not using 02-07-2014 Hela S pLVP041 or pLVP042 because they're either missing or misnamed. I'm not sure which, so I won't use them. -kmd 09-12-2014

11_08_2014_HelaS_L_TRF2_KD (External hard drive C)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1),TRF2-sh3 (TRF2 KD) in Hela S and Hela L.
filtered molecule lists need to be analyzed (until now only unfiltered analyzed!)

20_08_2014_HelaS_L_TRF2_KD_30000_frames (given on the 11.09)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD) in Hela S and Hela L.
Here 30000 frames were taken instead of 10000 frames.
Mol lists are not filtered and filtered.
This is in part the same transfection experiment as: 11_08_2014_HelaS_L_TRF2_KD (here 10000 frames taken).
analyze filtered molecule lists

13_08_2014_HelaS_L_TRF2_KD (External hard drive B)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1),TRF2-sh3 (TRF2 KD) in Hela S and Hela L.
filtered molecule lists need to be analyzed (until now only unfiltered analyzed!)

18_08_2014_HelaS_L_TRF2_KD (External hard drive C)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD) in Hela S and Hela L.
Here I used the 405 nm laser as additional activation laser!!!!
Mol lists are not filtered and filtered.

This is in part the same transfection experiment as: 13_08_2014_HelaS_L_TRF2_KD (here no 405 laser was used in addition). The 18_08_2014 data needs to be compared to pSuper and TRF2-sh3 conditions of the 13_08_2014 data.
(question: does 405 nm activation laser change the results?)
analyze filtered molecule lists

24_08_2014_HeLaS_SmchD1_TRF2_doubleKD_FISH (given on the 11.09)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1), TRF2-sh3 (TRF2 KD), TRF2/041 (TRF2 and SmchD1 KD-sh1), TRF2/042 (TRF2 and SmchD1 KD-sh2) in Hela S

27_08_2014_HelaS_SmchD1_Trf2_doubleKD_FISH (External hard drive B)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1), TRF2-sh3 (TRF2 KD), TRF2/041 (TRF2 and SmchD1 KD-sh1), TRF2/042 (TRF2 and SmchD1 KD-sh2) in Hela S

29_08_2014_Hela_L_TRF1_IF (External hard drive C)
2 slides/ condition, 15 pictures/slide = 30 pictures for Hela L in TRF1 IF (immunofluorescence).
conditions: dilution of TRF1 antibody (488, LG) as 1/1000 and 1/2000; Mol lists are filtered.
This experiment needs to be compared to the FISH data of Hela L from experiment 12_06_2014_HelaS_L (question: are the telomere sizes and volume comparable between FISH and IF?)

08_09_2014_HelaS_L_TRF1_TRF2_KD_DAPI (External hard drive C)
1 slide/condition, for each condition 8 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD), TRF1-sh1 (TRF1 KD), TRF2/TRF1 (double KD TRF1/2) in Hela S and Hela L.
For this experiment 2 WF pictures were taken:
1. telomere Cy5
2. nucleus DAPI
to make sure that all the signals (telomeres) we get are in the nucleus.
Would need to be compared to the data from 09_09_2014 (no DAPI staining: questions: does DAPI staining influence the STORM acquisition?

09_09_2014_HelaS_L_TRF1_TRF2_KD (given next week)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD), TRF1-sh1 (TRF1 KD), TRF2/TRF1 (double KD TRF1/2) in Hela S and Hela L.
Same transfection experiment as 08_09_2014, but not stained for DAPI.

21_10_2014_HelaS_L_TRF1_TRF2_KD_FISH (disc C; given 27.10.14):
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD), TRF1-sh1 (TRF1 KD), TRF2/TRF1 (double KD TRF1/2) in Hela S and Hela L. (see following note)
I renamed the individual molecule lists from HelaL to HelaS and vice versa because they were erroneously switched at the time the data was taken. The jpeg images have not yet been renamed. -kmd

05_11_2014_HelaS_L_TRF1_TRF2_KD_FISH (disc C; given 24.11.14): (hard drive C)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD), TRF1-sh1 (TRF1 KD), TRF2/TRF1 (double KD TRF1/2) in Hela S and Hela L.

17_11_2014_HelaS_L_TRF1_TRF2_KD_FISH (disc C; given 24.11.14): (hard drive C)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), TRF2-sh3 (TRF2 KD), TRF1-sh1 (TRF1 KD), TRF2/TRF1 (double KD TRF1/2) in Hela S and Hela L.

06_11_2014_HelaS_SmchD1_Trf2_doubleKD_FISH (External hard drive C)
1 slide/condition, for each condition 15 pics
conditions: pSuper (mock control), pLVP041 (sh1-SmchD1), pLVP042 (sh2-SmchD1), TRF2-sh3 (TRF2 KD), TRF2/041 (TRF2 and SmchD1 KD-sh1), TRF2/042 (TRF2 and SmchD1 KD-sh2) in Hela S

Final results:

Experiment_1: For comparison of telomere FISH and TRF1 IF (immunofluorescence):
Compare Hela L data from:
12_06_2014_HelaS_L_FISH (compare only Hela L)
You mean the original data in 11-06-2014? -kmd 2014-12-10
with
29_08_2014_Hela_L_TRF1_IF

Experiment_2: For setting up the method:
1.	Does 405 nm activation laser change the results:
compare Hela S and L data from:
13_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
18_08_2014_HelaS_L_TRF2_KD

2.	Does acquisition of 30000 frames change the results:
compare Hela S and L data from:
Use 20-08-2014 for the 30000 frame data, not 11-08-2014. -kmd 12-10-2014
11_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
11_08_2014_HelaS_L_TRF2_KD_30000_frames

Experiment_3: For SmchD1 KD affect in Hela S and L:
pool data from:
18_06_2014_HelaS_L_KD_SmchD1
19_06_2014_HelaS_L_KD_SmchD1
30_06_2014_HeLaS and L_SMCHD1_KD
29_07_2014_HelaS_L_SmchD1_KD
30_07_2014_HelaS_L_SmchD1_KD
11_08_2014_HelaS_L_TRF2_KD (only pSuper, pLVP041, pLVP042)
13_08_2014_HelaS_L_TRF2_KD (only pSuper, pLVP041, pLVP042)
I also added the subset of the 30-06-2014 data, labeled as 02-07-2014, to the pool, except for 02-07-2014 Hela S pLVP041 and 02-07-2014 Hela S pLVP042 because it's either missing or mislabeled. -kmd 2014-12-09

The HTML reports for this data set are split into two folders since my computer ran out of memory while generating the plots for one complete file. - kmd 2014-12-10

Experiment_4: For TRF2 KD affect in Hela S and L:
pool data from:
11_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
13_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
for just TRF2 KD affect in Hela S, pool data from:
11_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
13_08_2014_HelaS_L_TRF2_KD (only pSuper and TRF2 KD)
24_08_2014_HeLaS_SmchD1_TRF2_doubleKD_FISH (only pSuper and TRF2 KD)
27_08_2014_HeLaS_SmchD1_TRF2_doubleKD_FISH (only pSuper and TRF2 KD)

Experiment_5: For affect of SmchD1 in TRF2 KD in Hela S:
pool data from:
24_08_2014_HeLaS_SmchD1_TRF2_doubleKD_FISH
27_08_2014_HeLaS_SmchD1_TRF2_doubleKD_FISH
06_11_2014_HelaS_SmchD1_Trf2_doubleKD_FISH
The data from 24-08-2014 seems to be systematically smaller than the other two	datasets. Currently it's still in the pool. -kmd

Aleks did another measurement on Jan 21, 2015 to replace the 24-08-2014 data. Currently, there is no 24-08-2014 in the pool, but 21-01-2015 is in the pool. -kmd Jan. 27, 2015

Experiment_6: Questions: Does KD of major shelterin components (TRF1, TRF2) affect telomere size/volume?
Pool data from:
08_09_2014_HelaS_L_TRF1_TRF2_KD_DAPI
09_09_2014_HelaS_L_TRF1_TRF2_KD
21_10_2014_HelaS_L_TRF1_TRF2_KD_FISH
05_11_2014_HelaS_L_TRF1_TRF2_KD_FISH
17_11_2014_HelaS_L_TRF1_TRF2_KD_FISH
pSuper and the TRF2 knockdowns from 05-11-2014 were not included in the pool	because their average sizes were anomalously small/large, respectively. This was	done on the recommendation by Verena. -kmd 8-12-2014
I also switched Hela L and Hela S from 21-10-2014 in the pooled data after noticing	that it hadn't been swapped in the pool yet. -kmd 9-12-2014

Please always analyze the data separately and if they all look the same you can pool them.
It would be great if on the html-page we would see each experiment separately as well as the pool!

Paper Figures Outline:

Figure 1: Determination of 3D-telomere size; validation of method
A: Model of STORM method
B: RG distribution of Hela S and L (wt = non-transfected)
C: mean RG of Hela S and L
D: Southern Blot of Hela S and L with distribution and mean

In the Supplementary or included in Fig 1:
Same analysis for Hela S and L pSuper (to state that there is no difference between wt and transfected cells)

Figure 2: Determination of telomere compaction – Are longer telomeres more compact than short ones?
A: comic of chromatin models 10 and 30 nm
B: parameter graph of Hela S and L in 1 graph with 10 and 30 nm fiber models marked
C: heterochromatin ChIP (H3K9me3, H4Ac, HP1alpha, gH2AX, IgG) in Hela S and L

In the Supplementary or included in Fig 2:
Same analysis for Hela S and L pSuper (to state that there is no difference between wt and transfected cells)

Figure 3: KD of shelterins affects 3D-telomere size
A: Western of shelterin KD in Hela S; qPCR for KD of TRF1 in Hela S
B: Southern Blot of shelterin KD in Hela S and telomere size distribution + mean values
C: RG distribution and mean values of shelterin KD in Hela S

To have ready for reviewers: Same experiment in Hela L KD shelterin, i.e. we already have the data, needs to be analyzed the same way.

Figure 4: Does telomere compaction change with KD of shelterin?
A: parameter graph for Hela S KD of shelterins
B: ChiP (H3K9me3, H4Ac, HP1alpha, gH2AX, IgG) heterochomatin in Hela S KD of shelterins